## Board Policy Draft – Data Center Zoning Ordinance Amendment

### High-Level Summary for Township Board Review

### 1. Purpose and Approach

- Establishes clear, enforceable standards for data center development in Dundee Township

- Recognizes that the Board’s realistic options are Yes, No, or “If”

- This ordinance represents the “If”: allowing development only if specific community protections are met

- Serves as a Board Policy Draft that formally establishes the Township Board’s position and expectations regarding data center development

- Is necessary because prior Board and Trustee submissions were provided as suggestions and were not consistently incorporated into draft materials, requiring the Board to clearly state its standards and intent in ordinance form

- Mirrors best practices used by other Michigan communities that addressed data centers after initial impacts occurred

### 2. Where Data Centers Are Allowed

- Limited to industrially zoned land only

- Does not rezone property

- Does not approve any specific project

### 3. Building Height, Setbacks, and Physical Separation

- Maximum building height: 50 feet

- Setbacks:

  - 200 feet from public roads

  - 500 feet from residentially zoned or occupied property (buildings)

  - 750 feet from residential property for generators and substations

- Designed to reduce visibility, noise, vibration, and safety impacts

### 4. Berming and Visual Screening

- Requires a continuous 12-foot earthen berm

- Berms required along residential property, agricultural property, and public roads

- Three rows of evergreen trees on top of berms

- Trees must be 10 feet tall at planting

- Screening must achieve year-round opacity

- Berms and vegetation must be installed before occupancy

### 5. Noise, Low-Frequency Noise, and Vibration Controls

- Maximum noise level: 50 dBA at the property line

- Applies under worst-case conditions with all generators and cooling systems operating

- Includes specific low-frequency noise limits to prevent tonal or “thumping” noise

- Requires pre-construction acoustic modeling and post-construction acceptance testing

- Township may require independent testing at the developer’s expense

- Construction vibration must not be perceptible at the property line

### 6. Standby Generators and Electrical Infrastructure

- Generators and substations must be fully enclosed, acoustically treated, and located at least 750 feet from residential property

- Enclosures must include intake and exhaust silencers, vibration isolation, and low-noise cooling fans

- Requires UPS systems to minimize generator starts

- Requires a minimum 12-hour fuel capacity

- Limits testing hours and requires Fire Department coordination

- Requires ongoing reporting and Township oversight

### 7. Water Use, Dewatering, and Well Protection

- Private wells are prohibited

- Permanent dewatering is prohibited

- Temporary construction dewatering allowed only with Township approval

- Requires hydrogeologic analysis and monitoring of nearby wells

- If wells are affected, the developer must provide interim potable water within 24 hours and permanently mitigate impacts at their expense

- Financial security is required and obligations run with the land

### 8. Traffic and Infrastructure Mitigation

- Addresses construction traffic and infrastructure strain

- Requires traffic and infrastructure improvements to be identified in advance

- Requires all required improvements to be completed before any construction or site preparation begins

- All costs are borne by the developer

### 9. Lighting and Site Operations

- Requires dark-sky compliant lighting

- Fixtures must be fully shielded and downward-directed

- Prevents light spill onto adjacent properties and roadways

### 10. Decommissioning and Long-Term Responsibility

- Requires a decommissioning and site restoration plan

- Financial guarantees are required

- Obligations run with the land

- Prevents abandoned infrastructure

### 11. What This Ordinance Does Not Do

- Does not approve a data center

- Does not guarantee a project will be built

- Does not prohibit data centers outright

- Does not weaken Township authority

### 12. Why This Matters

- Provides clarity for residents, developers, and the Planning Commission

- Protects the Township legally through objective, performance-based standards

- Ensures future decisions are made within clear guardrails rather than ad-hoc reactions